Title:

Photo-switchable quantum dots based on reversible FRET and azobenzene DNA

Abstract:

Super-resolution fluorescence microscopy has become a powerful tool to resolve biological structures smaller than the diffraction limit of light microscopy (~200nm). Nonetheless most super-resolution techniques (STORM/PALM, STED) use photo-switchable fluorescent probes (i.e., dyes and fluorescent proteins) that are limited in brightness and photostability, which reduces potential image resolution. Here, we describe photo-switchable quantum dots (QDs) with enhanced brightness and stability, as candidates for super-resolution imaging techniques. These QDs are composed of one green QD, one gold nanoparticle (AuNP), and complimentary single stranded DNA (ssDNA) conjugated to each particle. The DNA is modified with azobenzene groups that are responsive to light of different wavelengths. Under visible light, the azobenzene groups adopt a trans configuration and the two pieces of ssDNA hybridize, which tethers the two nanoparticles, quenching the QD fluorescence through Förster resonance energy transfer (FRET), a highly distance dependent mechanism (i.e.,  1/r6, in this case, a few nanometers). The azobenzene groups switch to the cis form when excited by UV light, which disrupts the DNA double helix, and the two particles diffuse from each other, thus restoring QD fluorescence. This design displays stochasticity in the on/off switching process, which is a key requirement for single-molecule localization-based super-resolution imaging techniques (i.e., STOMR/PALM), and is absent in previous light responsive QDs.